# How to change battery

Parts:

Battery, one piece:

New seal: two pieces

1” Heat shrink tube: 2pieces

Tools:

Wire stripper:

Solder:

Heat shrink gun:

- Remove the two seals.

- Remove the two screws.

- Remove the Cap.

- Remove the eight screws and open the core module.

- Cut the red and black wires connected to battery.

- Remove the battery. Put a new battery in the battery holder

- Strip the wires on the meters and battery. Slid heat shrink tube onto the wires.

- Solder the black and red wires.

- Use the heat gun to shrink the tubes.

- Close the core module, fasten the screws.

- Snap the cap, fasten the screws and seals.